These specifications have been produced by the GI branch but have not been adopted by the City of Vancouver as approved standard Construction Specifications and are not endorsed by the MMCD. The GI Construction Specifications are intended for project specific uses. These documents must be edited in Microsoft Word using ‘TRACK CHANGES’.  The text is to be edited to suit the project specific conditions.

All users must be sure to review the highlighted text for project specific relevance.

| 1.0 | GENERAL |  | Section 33 51 02S Rainwater Tree Trench Systems refers to those portions of the work that are unique to the supply and installation of vegetated Green Infrastructure systems (i.e. rainwater tree trenches). Related appurtenances are included in other sections. This section must be referenced to and interpreted simultaneously with all other sections pertinent to the works described herein. |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | All Work performed on existing tree trenches or on the installation of new tree trenches and / or other related structures shall be done in accordance with these Specifications, the Contract documents, and the Drawings. |  |  |  |
|  |  |  | # All details of rainwater tree trench systems not specifically covered in this section shall comply with ASTM and CGSB standards and/or manuals of practice as specified contract documents |  |  |  |
|  |  |  | # Note that wherever P is used as a suffix to a MMCD section, the reference is to the Vancouver Parks Board standards. |  |  |  |
| 1.1 | Related Work | .1 | # Bioretention Soil |  | # Section 32 94 01 |  |
|  |  | # .2 | # Site Grading |  | # Section 31 22 01 |  |
|  |  | # .3 | # Engineered Soil |  | # Section 32 94 02 |  |
|  |  | # .4 | # Seeding |  | # Section 32 92 20 |  |
|  |  | # .5 | # Sodding |  | # Section 32 92 23 |  |
|  |  | # .6 | # Geosynthetics |  | # Section 31 32 19 |  |
|  |  | # .7 | # Aggregates and Granular Materials |  | # Section 31 05 17 |  |
|  |  | # .8 | # Hydraulic Seeding |  | # Section 31 05 17 |  |
|  |  | # .9 | # Planting of Trees, Shrubs and Ground Covers |  | # Section 32 93 01 |  |
|  |  | # .10 | # Excavation, Trenching and Backfilling |  | # Section 31 23 01 |  |
|  |  | # .11 | # Dust Control |  | # Section 31 15 60 |  |
|  |  | # .12 | # Signage |  | # Section 32 17 24 |  |
|  |  | # .13 | # Irrigation |  | # Section 32 80 00P |  |
|  |  | # .14 | # Miscellaneous Stone Work |  | # Section 04 43 00P |  |
|  |  | # .15 | # Tree Protection |  | # Section 32 01 56P |  |
|  |  | # .16 | # Landscape Maintenance |  | # Section 32 01 90P |  |
|  |  | # .17 | # Exterior Site Furnishing |  | # Section 32 37 00P |  |
|  |  | # .18 | # Plants and Planting |  | # Section 32 92 10P |  |
|  |  | # .19 | # Unit Paving |  | # Section 32 14 01 |  |
| 1.2 | References | .1 | CLS Canadian Landscape Standard |  |  |  |
|  |  | # .2 | # Canadian System of Soil Classification |  |  |  |
|  |  | # .3 | # Canadian National Master Construction Specification |  |  |  |
|  |  | # .4 | # CSA Bioretention Standard |  |  |  |
|  |  | # .5 | # City of Calgary Low Impact Development Guidelines - Module 2 - Bioretention and Bioswales |  |  |  |
|  |  | # .6 | # Vancouver Parks Board Design Standards |  |  |  |
|  |  | # .7 | # City of Vancouver Urban Forest Strategy |  |  |  |
|  |  | # .8 | # City of Vancouver Climate Change Action Plan |  |  |  |
| 1.3 | Definitions | .1 | The following definitions apply specifically in the context of tree trench design and construction |  |  |  |
|  |  |  | # Tree Trench | # Tree trenches are a form of green infrastructure which provide quality control and rainwater retention for surface water runoff. Tree trenches are formed by providing continuous hydraulic connections between urban trees through a continuous soil medium, perforated pipes, or manufactured storage structure. Tree trenches can infiltrate into underlying subsoil or be lined to prevent infiltration. |  |  |
|  |  |  | # Bioretention Soil | # A soil mixture used to provide quality control improvements and provide a healthy growing environment for vegetation. Refer to 32 94 01S Bioretention Soil |  |  |
|  |  |  | # Sediment Basin | # A sediment basin is a concrete slab contained by curbs and separated from the vegetated cell area by a low weir. Sediment basins are intended to capture sediment and waste at the upstream end of the tree trench to prevent contamination of the vegetated purpose of the cell. |  |  |
|  |  |  | # Manufactured Soil Cell | # Manufactured soil cells provide structural support for overlying hardscape while allowing for additional void space for water retention or soil volume. |  |  |
|  |  |  | # Structural soil | # Structural soil is a soil and aggregate mix used to provide structural support for overlying hardscape while allowing for additional void space for water retention. |  |  |
|  |  |  | # Underdrain | # A perforated pipe used to convey water out of the trench and prevent cell saturation. |  |  |
|  |  |  | # Distribution Pipe | # A perforated pipe used to convey water into the trench and prevent soil desiccation. |  |  |
|  |  |  | # Distribution Chamber | # A chamber to connect runoff from CATCHBASINs to distribution pipes within the tree trench. |  |  |
|  |  |  | # Non-infiltrating tree trench | # A non-infiltrating tree trench system includes an impermeable liner to prevent seepage or infiltration. |  |  |
|  |  |  | # Partially infiltrating tree trench | # Partially infiltrating tree trench systems do not use an impermeable liner but do contain an underdrain that discharges water from the drainage layer into a connected sewer system. |  |  |
|  |  |  | # Monitoring well | # A perforated PVC pipe surrounded by drain rock and/or geotextile which is installed in the vegetated area or under hardscape where underlying structural is present. Used to monitor soil saturation within the system. |  |  |
| 1.4 | Samples |  | Submit to Contract administrator one composite sample of each type of proposed bioretention soil, aggregate, geotextile, or unit paver for each different application within the project. Each soil or aggregate sample shall be a composite of at least three samples distributed throughout the proposed source and shall be at least one (1) liter in volume. |  |  |  |
|  |  |  | # Samples for bioretention soil shall be provided per Section 32 94 01S Bioretention Soil. |  |  |  |
|  |  |  | # Samples for engineered/structural soil shall be provided per Section 32 91 23S Bioretention Soil. |  |  |  |
|  |  |  | # The Contractor Administrator may request independent sample collection. |  |  |  |
|  |  |  | # For geotextiles and impermeable liners, Contractor shall submit samples a minimum of 30 days prior to start of the project unless otherwise stated by Contract administrator. |  |  |  |
|  |  |  | # Provide to the Contract administrator a copy of growing medium analysis from a testing facility approved by the Contract administrator. The analysis shall be of tests done on the proposed growing medium from samples taken at the supply source within three weeks immediately prior to soil placement. Cost of initial analysis and subsequent tests to ensure compliance with this specification shall be borne by the contractor. Results of these tests shall be presented to the Contract administrator for review before any growing medium delivery to site. Refer to Section 32 94 01S - Bioretention Soil |  |  |  |
| 1.5 | Material Certifications |  | For Bioretention Soil Certifications, Refer to Section 32 94 01S Bioretention Soil |  |  |  |
|  |  |  | # Green Infrastructure Branch may appoint an independent testing facility to ascertain compliance with this specification and to recommend modifications to make the growing medium meet the requirements of this specification. Responsibility for the cost of these tests shall be determined on a project specific basis. |  |  |  |
|  |  |  | # For geosynthetic certification, refer to Section 31 32 19 Geosynthetics. |  |  |  |
|  |  |  | # For soil cell certification, refer to supplier documentation. |  |  |  |
| 1.6 | Scheduling of Work |  | Refer to Section 01 32 16.19S Construction Schedule |  |  |  |
|  |  |  | Schedule work to minimize interruptions to existing services |  |  |  |
|  |  |  | Co-ordination of the installation of the structural soil mixture and growing medium is critical. Ensure scheduling has been co-ordinated with all consultants and related contractors. |  |  |  |
|  |  |  | # Maintain existing drainage conditions during construction. |  |  |  |
|  |  |  | # Submit schedule of expected interruptions to Contract administrator for approval and adhere to approved schedule |  |  |  |
|  |  |  | # All work scheduling shall accommodate requirements set by the project administrator regarding key stages of construction and stages and/or tasks where a GI branch inspector is required on site. |  |  |  |
|  |  |  | # Additional information regarding scheduling of material placement is provided in 3.0 EXECUTION |  |  |  |
| 1.7 | Measurements and Payment | .1 | Payment subject to grading approval by the contract administrator. |  |  |  |
|  |  | # .2 | # Scale tickets or packing slips shall accompany invoices to confirm quantity installed. |  |  |  |
|  |  | # .3 | # Payment for site clearing and earthwork will include the trucking and disposal of existing soil, vegetation, and debris at an approved designated facility. |  |  |  |
|  |  | # .4 | # Payment for site grading of stockpiled native soil includes cut and fill excavation and its on-site redistribution and compaction to design elevations and grades with off-site disposal of surplus materials to be paid for separately. Measurement for site grading will be made for the entire area graded including excavating and filling. |  |  |  |
|  |  | # .5 | # Payment for backfilling with green infrastructure components will be made separately under Section 31 23 01 – Excavating Trenching Backfilling. |  |  |  |
|  |  | # .6 | # Payment for Green Infrastructure in boulevard or other locations as shown on Contract Drawings includes, excavation, installation of drainage components, backfill and compaction, grading, hardscape installation, and the addition and removal of native materials as required to form trenches to suit local conditions and to provide proper drainage. |  |  |  |
|  |  | # .7 | # Payment for green infrastructure also includes cast-in-place or precast concrete elements as per Contract documents to provide proper drainage. |  |  |  |
|  |  | # .8 | # Unless otherwise noted in the Contract documents, payment for all charges or fees related to inspection from third-party utility companies and / or external authorities / agencies will be incidental to payment for Work described in other Sections. |  |  |  |
| 1.8 | Inspection and Testing | .1 | Refer to General Conditions Clause 4.12. Inspections in addition to the following specifications |  |  |  |
|  |  | # .2 | # Provide at least two days (48 hours) notice in advance of each required review. |  |  |  |
|  |  | # .3 | # The Contractor shall notify the Contract administrator 48hrs in advance of backfilling to collect soil samples from the bottom of the excavation and conduct infiltration tests at the bottom of the trench if requested by the City Engineer. |  |  |  |
|  |  | # .4 | # Notify Contract administrator when the site is prepared for placement of any product listed in this specification. |  |  |  |
|  |  | # .5 | # Do not place growing medium until subgrades have been reviewed and approved by the City Engineer. |  |  |  |
|  |  | # .6 | # Provide at least two days (48 hours) notice in advance of each required review. |  |  |  |
|  |  | # .7 | # A QC Inspector is required onsite during the following construction activities. Refer to contract documents for additional information and project specific requirements. |  |  |  |
|  |  |  | # .1 Excavation - Depth and Extents |  |  |  |
|  |  |  | # .2 Subgrade Scarification |  |  |  |
|  |  |  | # .3 Backfilling and Material Placement |  |  |  |
|  |  |  | # .4 Monitoring Well Installation |  |  |  |
|  |  |  | # .5 Perforated Pipe Installation and CATCHBASIN connection |  |  |  |
|  |  |  | # .6 Sediment Pad installation |  |  |  |
|  |  |  | # .7 River rock placement around inlets and outlets |  |  |  |
|  |  |  | # .8 Curb cut inlet and steel cover installation |  |  |  |
|  |  |  | # .9 GI signage installation |  |  |  |
|  |  | # .8 | # Ensure that CATCHBASIN is cleaned and vacuumed after construction is complete |  |  |  |
|  |  | # .9 | # Clean and wash the sediment basin prior to completing construction |  |  |  |
| # 1.9 | # Warranty | # .1 | # The Contractor shall provide a two-year parts and labour warranty on all materials, components, products and systems from the date of Substantial Performance. |  |  |  |

| 2.0 | PRODUCTS | .1 | The final acceptance to use the materials or other proposed materials listed below shall be at the sole discretion of the City Engineer. |
| --- | --- | --- | --- |
|  |  | # .2 | # Note that tree trenches do not require every material listed below. Refer to contract drawings for materials required on specific projects. |
| 2.1 | Perforated Drain Pipe | .1 | Refer to Section 33 40 01 - Storm Sewers in addition to the following specifications. |
|  |  | # .2 | # Refer to Contract Drawings and City of Vancouver GI Standard Drawing 3.7. |
|  |  | # .3 | # Underdrains shall meet requirements of ASTM D2729 with perforations meeting AASHTO Class II specifications |
|  |  | # .4 | # Distribution pipes shall meet the requirements of ASTM D3350 with perforations meeting AASHTO Class II specifications |
| 2.2 | Geosynthetics |  | Refer to Section 31 32 19 - Geosynthetics in addition to the following specifications |
|  |  |  | # Place geotextiles over the entire finished surface of drainage medium as per Contract documents. Ensure seams are overlapped as per Section 31 32 20 - Geosynthetics. |
|  |  |  | # At no time shall the geotextile be exposed to ultraviolet light for a period exceeding 14 calendar days. Geotextile rolls shall be stored in a manner which protects them from the elements. If stored outdoors, they shall be elevated and protected with a waterproof cover. |
|  |  |  | # The use of geogrids, geocomposites and geomembranes is permitted providing the Contractor has submitted advanced notice of the use of the proposed material to the Contract administrator, and that the proposed material has been reviewed and approved by the City Engineer. Only approved materials shall be used for construction. Use of non-approved materials shall result in re-construction at the contractor’s expense. Previously approved materials may be used with proof of prior approval or with the support of the City Engineer. |
|  |  |  | # Any damage to existing geomembrane must be repaired or replaced to the satisfaction of the City Engineer at the Contractor’s expense. |
|  |  |  | # Geosynthetics shall be selected and designed to withstand wear and tear during construction without deterioration of its strength and filtering properties. Conform to the following ASTM designations: |
|  |  |  | # .1 Grab Tensile Strength ASTM-D4632: Min = 400 N |
|  |  |  | # .2 Tensile Elongation ASTM-D-4632: Min = 50% |
|  |  |  | # .3 CATCHBASINR Puncture Test (ASTM D-6241) = 1800 N |
|  |  |  | # .4 Flow Rate ASTM-D-4491. Min = 6110 L/min/m2 |
|  |  |  | # At minimum, report in metric units with the respective ASTM test, the following properties: grab tensile strength, elongation, CATCHBASINR puncture, trapezoidal tear, apparent opening size, permittivity, water flow rate, UV resistance, and roll size. |
| 2.3 | Impermeable Liners | .1 | PVC, EPDM, and thermal polyolefin (TPO) are permitted and inherently root resistant. |
|  |  | # .2 | # All waterproof membranes must meet appropriate ASTM specifications. PVC membranes must meet ASTM D4434 requirements, EPDM membranes must meet ASTM D4637 requirements, and TPO membranes must meet ASTM D6878 requirements. |
|  |  | # .3 | # Waterproofing membrane must be fully waterproof with properly sealed seams, corners, and protrusions to prevent any intrusion of standing water above the membrane. |
|  |  | # .4 | # The minimum thickness for impermeable liners shall be .75mm |
|  |  | # .5 | # Impermeable liners shall be selected and designed to withstand wear and tear during construction without deterioration of its strength and filtering properties. Impermeable lingers shall conform to the following ASTM designations: |
|  |  |  | # Property; # Test Method; # Value. # Thickness, mil (mm) Minimum Average; # ASTM D 5199; # 0.75. # Density, g/ml; # ASTM D 1505; # 0.9. # Carbon Black Content, %; # ASTM D 1603, modified; # 2. # Tensile Strength at Break, (N/mm) lb/in; # ASTM D 6693; # 100 (18). # Elongation at Break, %; # ASTM D-6693; # 700. Tear Resistance, N (lb); ASTM D 1004; 65 (15). # Puncture Resistance, N (lb); # ASTM D 4833; # 180 (40). |

| # 2.4 | # Drainage Rock (19mm Clear Crush) | # .1 | # Drain rock to be CoV #15 clear crush material, refer to Section 31 05 17 - Aggregates and Granular Materials |
| --- | --- | --- | --- |
|  |  | # .2 | # Place drainage medium and ensure consistent depth as per Contract documents. |
|  |  | .3 | The minimum thickness of the drainage rock layer is 200mm. |
|  |  | # .4 | # The drainage rock layer must completely cover any perforated drain pipes being used in the tree trench system. |
| 2.5 | Bioretention Soil | .1 | Refer to Section 32 94 01S - Bioretention Soil |
|  |  | # .2 | # Place growing medium and ensure consistent depth as per Contract documents. |
|  |  | # .3 | # Bioretention soils shall only be used in areas without overlying hardscape, or within soil cells, which provide structural support for the overlying hardscape. |
|  |  | # .4 | # Within tree pit areas, bioretention soil may be replaced with a soil mixture approved by the City Engineer. See Section 32 91 21 Topsoil and Finished Grading |
| # 2.6 | # Manufactured Soil Cells |  | # Manufactured soil cells may be used to provide structural support for overlying hardscape. |
|  |  |  | # Manufactured soil cells and any underlying material must be installed per manufacturer specifications |
|  |  |  | # The minimum manufactured soil cell loading capacity shall be 137kN |
|  |  |  | # Soil cells and related products shall be installed by a qualified installer whose work has results in successful installation of growing medium and planter drainage systems, underground piping, chambers and vault structures |
|  |  |  | # An experienced full-time supervisor employed by the installer shall be present at the Project site when work is in progress. Utilize the same field supervisor throughout the project, unless a substitution is submitted to and approved in writing by the Contract Administrator. |
|  |  |  | # The contractor shall engage the soil cell manufacturer to provide shop drawings, stamped by licensed professional engineer, and to provide construction review by a licensed professional engineer, in order to ensure that the soil cells are constructed in accordance with the construction documents. |
|  |  |  | # For each type of product, submit manufacturer’s product literature with technical data sufficient to demonstrate that the product meets these specifications. Provide manufacturer’s catalog product data, installation instructions and material safety and data sheets for the safe handling and storage of the specified materials and products. |
|  |  |  | # The structural design of each soil cell unit shall facilitate the movement of roots and water between each cell and between the edges of the cell system and the surrounding soils. The design shall facilitate the installation, compaction, and in-situ soil compaction testing; installation and maintenance of utilities within and under the soil cells; the movement and expansion of roots; and the lateral capillary movement of water. |
|  |  |  | # Critical to the soil cell design is that each soil cell or stack of soil cells shall be structurally independent of all adjacent soil cell stacks such that a single stack or group of stacks can be removed after the completion of installation to facilitate future utility and subsurface infrastructure installation and repair. |
| # 2.7 | # Structural Soil | # .1 | # The following specifications are in addition to those in Section 32 91 23S Structural Soil |
|  |  | # .2 | # Structural soil depth per Contract Documents |
| # 2.8 | # Composted Mulch | # .1 | # 9-20mm (3/8-3/4”) Composted/Aged Mulch, black/brown in colour with no cedar or redwood bark or wood material. Manufactured by pre-approved vendor to be applied to all planting areas unless otherwise stated. |
|  |  | .2 | Recommended depth of 50-76mm (2-3”) to be applied as per Contract Documents |
| # 2.9 | # River Rock |  | # River rock shall be 90-125mm. Contractor to provide a sample for approval two weeks prior to purchase. |
|  |  |  | # The material shall be of uniform quality, thoroughly washed free of sand, silt and clay and shall contain no more than 5% non-rounded (having one or more fractured faces) particles by mass on material retained on the 9mm sieve size or larger. |
|  |  |  | # The material may be used only downstream of weirs, sediment pads, inlets, or around catch basins in bioretention systems. |
|  |  |  | # River rock shall be placed in accordance with Contract Documents. # Sieve Designation; # % Passing. # 125mm dia; # 100. # 90mm dia; # 0-5. # 75mm; # 0. # 50mm; # 0. # 25mm; # 0. # 10mm; # 0. |
| # 2.10 | # Cast-in-place Concrete | # .1 | # Refer to Section 03 30 53 - Cast-in-place concrete. |
|  |  | # .2 | # CIP requirements, including type of material and compaction requirements as shown on Contract Documents. |
|  |  | # .3 | # Reinforcement requirements, including type of material and spacing requirements as shown on Contract Documents. |
| 2.11 | Precast Concrete | .1 | Refer to Section 03 40 01 - Precast Concrete. |
|  |  | .2 | Precast contract requirements, including type of material and compaction requirements as shown on Contract Documents. |
|  |  | .3 | Reinforcement requirements, including type of material and spacing requirements as shown on Contract Documents. |
| 2.12 | Granular Base | .1 | Refer to Section 31 05 17 - Aggregates and Granular Materials. Clause 2.10 |
|  |  | .2 | Granular bedding to be CoV Aggregate #9. Refer to Section 31 05 17 - Aggregates and Granular Materials, Clause 2.10 |
| 2.13 | Pea Gravel | .1 | Refer to Contract documents for Pea Gravel application and use |
|  |  | .2 | A pea gravel layer with a minimum thickness of 5cm may be used as a substitute for geotextile. |
|  |  | .3 | Refer to Section 31 05 17 - Aggregates and Granular Materials, Clause 2.13 |
| 2.14 | Steel Curb Cut Inlet Cover | .1 | As shown on Standard Drawing GI2.1 and GI2.2. |
|  |  | .2 | Any variance from standard drawings to be shown on Contract Documents |
| 2.15 | Inspection Chamber | .1 | As shown on Standard Drawings GI3.3. |
|  |  | .2 | Any variance from standard drawings to be shown on Contract Documents |
| 2.16 | Monitoring Well | .1 | As shown on Standard Drawings GI3.2. |
|  |  | .2 | Any variance from standard drawings to be shown on Contract Documents |
| 2.17 | Permeable Pavers | .1 | Permeable paver requirements, including type of material and compaction requirements as shown on Contract Documents. |
| 2.18 | Porous Asphalt | .1 | Porous asphalt requirements, including type of material and compaction requirements as shown on Contract Documents. |

| 3.0 | EXECUTION |  |  |  |
| --- | --- | --- | --- | --- |
| 3.1 | General | .1 | Tree trench details, including material specifications and dimensions to be shown on contract drawings. Guidance is provided on the City of Vancouver Standard GI Drawings - Section 5: Rainwater Tree Trenches |  |
| 3.2. | Stripping of Topsoil | .1 | Strip existing topsoil in accordance with Section 31 22 01 - Site Grading |  |
|  |  | .2 | If the soil is to be ameliorated, ensure that the quality of the removed top soil is preserved to the satisfaction of the City Engineer per guidance in Section 01 57 01 - Environmental Protection. Preserve material according to Section 32 91 21 - Topsoil and Finish Grading. |  |
|  |  | .3 | Measurement for topsoil stripping including stockpiling for re-use will be made from before and after cross sections of stripped area as determined by Contract Administrator |  |
| 3.3 | Site Preparation |  |  | Any construction activity that would impact the condition, infiltration capabilities, or general plant health of tree trench systems shall require the below protective measures: |  |
|  |  |  |  | - Debris and dust control – plastic tarps shall be placed and secured over the bioretention system to prevent debris and excessive dust resulting from construction from settling into the engineered soil and obstructing infiltration and harming vegetation. Common contaminants include, but are not limited to, runoff from wet saw‐cutting of sidewalks or roadways, runoff seeping from stockpiled soils or materials, debris from street milling activities, dust and other fine particles, general construction litter and debris. Excessive damage may result in loss of functionality and will require reconstruction of the bioretention system. Refer to Section 31 15 60S Dust Control |  |
|  |  |  |  | - Temporary fencing – a wooden fence or similar protection shall be used as a temporary protection zone during construction in order to avoid damage to the tree guards and tree. No post shall be placed inside the bioretention system. |  |
|  |  |  |  | - Perimeter controls are necessary throughout the construction process. Until the contributing drainage area is stabilized and construction vehicles are no longer tracking sediment onto finished surfaces, no bioretention system shall be put online. |  |
|  |  |  |  | # Storage of construction materials, disposing of construction waste or effluent, or illegal dumping within the tree trench system is strictly prohibited. |  |
|  |  |  |  | # Access to tree trench systems will be provided at all times to allow for maintenance crews to maintain and inspect. Tree trench systems shall remain protected, closed, and all protection measures will remain in‐ place and maintained until the construction activity is complete and the GI Branch has accepted the tree trench for being opened up to rainwater runoff. |  |
|  |  |  |  | # Properly store aggregates and materials to prevent fines from migrating into green infrastructure excavations. Stockpiling must be done in accordance of Section 31 15 60 Dust Control. |  |
|  |  |  |  | # Excavated material within areas of Japanese Beetle Regulated Area: Excavated material for landfill during spring to fall may cause environmental issues if not properly stored and transported to a certified landfill facility. Special permit required for dealing with excavated material from the work area. Material storage and transportation shall follow regulations and landfill shall be arranged at a certified location. |  |
|  |  |  |  | # If possible, delaying construction of all tree trench areas until after all sediment-producing construction in the drainage are is complete (i.e. building have been constructed and landscaped areas have been stabilized) can prevent degradation and contamination of completed or partially completed tree trench areas. |  |
|  |  |  |  | # Traffic and deliveries shall be routed around tree trench areas to prevent damage, compaction of the subsoils and deposition of fines in the tree trench areas. |  |
|  |  |  |  | ## The tree trench must be staked and marked to keep all construction traffic, equipment, and material stockpiles out of the proposed tree trench area. |  |
|  |  |  |  | ## Bioretention soil shall not be delivered to the installation site until the tree trench location has been excavated or graded to the design elevations and geotextile fabrics and underdrain systems are in place. The planting materials shall not be delivered until after the growing media layer has had time to settle and is trimmed to the proper grade elevation. |  |
|  |  |  |  | ## Sediment Control devices shall be inspected at the end of each workday. All sediment controls shall be in good condition and all sediment traps shall have capacity for additional sediment loading. Any deficiencies must be repaired immediately. |  |
| 3.4 | Utility Protection | .1 | Verify size, location, and depth of all existing site services and sub-surface utilities prior to commencement of the work. Repair all damages as a result of failure to perform adequate review at no cost of the City of Vancouver. |  |
|  |  | .2 | Wherever feasible, utility bedding shall be left in place to ensure the stability and longevity of the utility bedding materials. |  |
|  |  | .3 | Hand and hydro-vacuum excavation: Where necessary, hand dig to all utilities to minimize damage to existing utilities. Where, in the opinion of the City Engineer, mechanical excavation presents a high risk of damage to existing underground utilities, the City Engineer can require either hand or hydro-vacuum excavation to be done to expose those underground utilities. The cost of hand or hydro-vacuum excavation shall be borne by the Contractor. |  |
|  |  | # .4 | # Sewers - Storm, Sanitary, and Combined |  |
|  |  |  | - Sewers and sewer laterals that pass through a tree trench system shall be backfilled per the bedding requirements for that sewer. |  |
|  |  |  | - The backfilled area shall be wrapped in non-woven geotextile to mitigate sediment transport. |  |
|  |  |  | - Additional backfill material associated with the tree trench system shall be placed with care to prevent damage to existing utilities. |  |
|  |  |  | - Refer to Contract Drawings along with specifications in Section 33 40 01 - Storm Sewers and Section 33 30 01 - Sanitary Sewers. |  |
|  |  | # .5 | # Watermains |  |
|  |  |  | - Watermains that pass through a tree trench system must be protected against the possibility of intrusion events. Procedure for protecting watermain laterals to be determined in coordination with Vancouver Water Design and Vancouver Coastal Health. |  |
|  |  |  | - Additional backfill material associated with the tree trench system shall be placed with care to prevent damage to existing utilities. |  |
|  |  |  | - Refer to Contract Drawings along with specifications in Section 33 11 01 - Watermains. |  |
|  |  | # .6 | # Hydro and Electrical |  |
|  |  |  | - No excavation shall be undertaken within 1.5 meters from any aboveground electrical equipment. |  |
|  |  |  | - Underground electrical equipment that passes through a tree trench system shall be wrapped in geotextile. |  |
| 3.5 | Excavation and Trenching | .1 | In addition to the following specifications, excavating, trenching, and backfilling shall be performed in accordance with Section 31 23 01 - Excavation, Trenching and Backfilling |  |
|  |  | # .2 | # When excavating the soil trench, care must be taken to avoid disruption to the granular base structure of the curb and sidewalk. |  |
|  |  | # .3 | # Scarify or compact bottom as shown on Contract Documents. If compacting is required, achieve 95% Modified Proctor density in compliance with ASTM D1557. Scarify 150mm to 300mm in depth with a tooth bucket or soil ripper in accordance with the area shown on the Contract Documents. |  |
|  |  | # .4 | # Do not scarify beyond what is specified in Contract Drawings. If the scarification of the excavation extends beyond the required depth and area, the over-scarification shall be compacted at the Contractor’s expense in accordance with section 3.2 of this document and to the satisfaction of the City Engineer. |  |
|  |  | # .5 | # Urban runoff shall not be allowed to directly enter the excavation via overland flow during construction, unless approved by the City Engineer. |  |
|  |  | # .6 | # Remove extraneous materials including trash from trench bottom or any subsequent lifts before placing green infrastructure materials. |  |
| 3.6 | Infiltration Testing | .1 | Infiltration testing shall be conducted after excavation is complete. See Table 4 for the spacing of boreholes and test pits. |  |
|  |  | # .2 | # Acceptable Infiltration testing methods include the Guelph permeameter test (ASTM D6391), double-ring infiltrometer (ASTM D3385 or ASTM D5093) test, borehole permeameter test, and percolation test |  |
|  |  |  | Infiltration GI Surface Area (m2); Number of Test Pits or Bore Holes; # of Tests per Pit or Borehole. # < 50; # 1; # 5. # 50 to 900; # 2. # >900; # 2 Per 450 m2. # Linear; # 1 per 100 m. |
| 3.7 | Sewer Connection and CATCHBASIN Installation |  | Refer to Section 33 40 01 - Storm Sewers, Clause 3.10 - Service Connection Installation |  |
|  |  |  | # Core opening in the existing CATCHBASIN wall to suit PVC perforated pipe connection. PVC pipe is to be sand blasted, coated with adhesive and sand (roughen up) prior to the insertion into the core. Grout annular opening around the pipe with non-shrink grout and flush with the CATCHBASIN wall inside and outside. |  |
|  |  |  | # A City of Vancouver representative (sewer maintenance inspector) shall inspect and approve the connection prior to the pipe being buried. |  |
|  |  |  | # If required by Contract Drawings, install Manhole risers per Section 33 44 01 Manholes and Catchbasins - Clause 3.3.13. |  |
| 3.8 | Backfilling and Material Placement |  | Refer to Section 31 23 01 - Excavating, Trenching and Backfilling |  |
|  |  |  | # Backfill requirements, including type of material and compaction requirements, as shown on contract drawings. |  |
|  |  |  | # Backfill materials shall be placed in uniform lifts not exceeding 300mm in loose thickness, 200mm for approved granular native material, and compacted to specified densities unless otherwise specified in Contract Drawings or allowed by City Engineer. |  |
|  | # .1 | # Preparation of Subgrade |  |  |
|  |  |  | # Prepare subgrade in accordance with Section 31 22 01 - Site Grading. |  |
|  |  |  | # Verify that grades are correct. If discrepancies occur, notify Contract Administrator and do not commence work until instructed by Contract administrator |  |
|  |  |  | # Protect the subgrade excavation from compaction, sedimentation, or concentrated rainfall/irrigation or surface flows until covered by subsequent construction stages |  |
|  |  |  | # Remove debris, roots, branches, stones in excess of 50 mm diameter and other deleterious materials. Remove soil contaminated with calcium chloride, toxic materials and petroleum products. Remove debris which protrudes more than 75 mm above surface. Dispose of removed material to approved off-site disposal area. Ensure that the trench is free from standing water prior to scarifying and placing backfill. |  |
|  |  |  | # Scarify compacted subgrade to depth of 150mm – 300mm immediately before placing fill materials such as structural soil, bioretention soil, soil cells or drain rock. Refer to Section 31 22 16: Reshaping Existing Subgrade. |  |
|  |  |  | # Review subgrade conditions to ensure that there is proper drainage in all planting areas and tree pits. Perform an infiltration test as instructed by Contractor Administrator to confirm proper drainage. |  |
|  |  |  | # Verify that subgrade has been approved by Contract Adminstrator prior to the placement of drainage medium. |  |
|  |  |  | # Flow control at inlet/outlet ‐ sandbags shall be placed to prevent roadway runoff from entering the excavated tree trench system. A sufficient number of sandbags shall be placed to completely block flow from entering the tree trench system. |  |
|  | # .2 | # Placement of Drain Rock |  |  |
|  |  |  | # Verify that subgrade has been approved by Contract administrator prior to the placement of drainage medium. |  |
|  |  |  | # Place drainage rock and ensure consistent depth or finish elevation as per Contract documents. |  |
|  |  |  | # Place geotextiles over the entire finished surface of drainage medium as per Contract documents. Ensure seams are overlapped as per 31 32 20S Geosynthetics. Geotextiles/geosynthetic shall not be placed underneath the drain rock unless specified in the contract documents. |  |
|  |  |  | # Drain rock shall be placed in uniform lifts not exceeding 300mm in loose thickness, and compacted to specified densities unless otherwise specified in Contract Drawings or allowed by the City Engineer. |  |
|  |  |  | # Review subgrade conditions to ensure that there is proper drainage in all planting areas and tree pits. Perform an infiltration test as instructed by Contractor Administrator to confirm proper drainage. |  |
|  |  |  | # Prevent natural or fill soils from intermixing with the gravel/drain rock. All contaminated stone aggregate must be removed and replaced. The gravel/drain rock shall be double washed. |  |
|  | # .3 | # Placement and Installation of Soil Cells |  |  |
|  |  | # .1 | # Place Soil Cells per Contract Drawings and manufacturer specifications |  |
|  |  |  | # Prior to the start of work, prepare a detailed schedule of the work for coordination with other trades. Schedule all utility installations prior to beginning work in this section. Where possible, schedule the installation of soil cells after the area is no longer required for use by other trades and work. |  |
|  |  | # .2 | # Mark the boundary of the soil cell frames with spray paint prior to placement. |  |
|  |  | # .3 | # The Contract administrator shall be present to review each part of the installation, until one complete representative section has been constructed. A representative section shall be considered the installation of a 30m3 soil component or whatever soil volume |  |
|  |  | # .4 | # The Contract administrator shall review the following activities: granular sub-base compaction, drainage installation, placement of granular base course and geotextile as required, placement of geogrids, backfill, placement of growing medium with compaction, and placement of top geotextile. |  |
|  |  | # .5 | # Protect open excavations and partially completed soil cell installation from access, damage and inclement weather when work is in progress, and following completion with highly visible construction tape, fencing, tarp or appropriate surface covering or other means until all construction is complete. |  |
|  |  | # .6 | # Protect installed soil cells from damage in the event that work must occur over or adjacent to the completed soil cells. Prevent all non-installation related construction traffic over the completed soil cell installation; only allowing loads less than the design loads. |  |
|  | # .3 | # Installation of Perforated Drain Pipe |  |  |
|  |  | # .1 | # Refer to Section 33 40 01 - Storm Sewers, Clause 3.15. |  |
|  |  | # .2 | # Underdrain pipes and/or distribution pipes must be bedded in drain rock and fully supported along their length (i.e., no section may be 'hanging' above the drain rock). |  |
|  |  | # .3 | # Underdrains must be installed at the design slopes and elevations in order to properly connect to the storm sewer infrastructure. |  |
|  |  | # .4 | # Underdrains must not be left exposed to weather or receive any runoff sediment prior to installation. Any damaged pipes must be replaced and pipes and associated drain rock exposed to mud or sediment must be cleaned and flushed or replaced. |  |
|  | # .4 | # Placement of Geotextile |  |  |
|  |  | # .1 | # Place geotextiles over the entire finished surface of drainage medium or soil cells as per Contract documents. Ensure seams are overlapped as per Section 31 32 20 Geosynthetics. |  |
|  |  | # .2 | # Care must be taken to ensure that geotextiles are not clogged, punctured or torn during construction. If they are damaged they must be repaired or replaced. |  |
|  |  | # .3 | # The geotextiles shall overlap by at least 0.60m at seams to prevent short-circuiting or intrusion of fines. Openings in the geotextile, for example around underdrain pipes, shall be sealed. |  |
|  |  | # .4 | # Pea gravel may be used as a replacement for geotextile at the discretion of the Contract administrator. |  |
|  |  | # .5 | # Geotextile shall be placed loosely (not taut) with no wrinkles or fold. Place the geotextile in close contact with underlying media so that no void spaces occur between the geotextile and the media. |  |
|  |  | # .6 | # Care shall be taken during construction to avoid contamination of the geotextile with soil or other material. Contaminated geotextile shall be removed and replaced at the Contractor’s expense. |  |
|  |  | # .7 | # For geomembranes |  |
|  |  |  | # .1 Refer to contract drawings |  |
|  |  |  | # .2 Seal the seams for the ends of the geomembrane. |  |
|  |  |  | # .3 Overlap one end over the other by minimum of 75mm. |  |
|  |  |  | # .4 Use double sided sealant tape to seal the seam. Cover the seam with one sided waterproof tape to protect the seam. |  |
|  | # .5 | # Placement of Bioretention Soil or Structural soil |  |  |
|  |  | # .1 | # When using bioretention soil, refer to Section 32 94 01S - Bioretention Soil. When using structural soil as backfill, refer to Section 32 91 22: Structural soil for material lift placement and compaction requirements. |  |
|  |  | # .2 | # Place all bioretention soil to the required finished grades in uniform lifts of 150mm in accordance with Section 32 94 01S - Bioretention Soil |  |
|  |  | # .3 | # If applicable, ensure that irrigation lines to be installed have been reviewed by Contract administrator prior to the placing of bioretention soil. Irrigation must be in accordance to the Vancouver Parks Board Specifications. |  |
|  |  | # .4 | # For large tree trench applications, slinger trucks shall be used for spreading soil in even layers and reducing the need to move soil media manually or by backhoe. If necessary, appropriate low ground pressure rated equipment can enter after at least 45 cm of structural soil or bioretention is installed and has properly dried. |  |
|  | # .6 | # Tree Planting |  |  |
|  |  | .1 | Refer to Section 32 93 01 Planting of Trees, Shrubs and Ground Covers |  |
|  |  | .2 | Recommended mulch depth to be applied as per Contract documents |  |
| # 3.9 | # Finish Grading of Exposed Vegetation Areas | # .1 | # Manually grade exposed soil areas, eliminating uneven areas and low spots, ensuring positive drainage or flat soil in ponding areas per contract drawings. |  |
|  |  | # .2 | # Ponding must occur only within the designated tree pit ponding areas as shown in the Contract Drawings to the satisfaction of the City Engineer. |  |
|  |  | # .3 | # Finish surface smooth, uniform, firm against deep footprinting with a fine loose surface texture. If there is settlement in the planting area during the two-year Warranty Period, the areas must be re-graded / top-dressed to prevent trips (settlements over 10mm), particularly at the edge of curb and edge of sidewalk. |  |
|  |  | # .4 | # Manually fine grade bioretention soil installation to contours and elevations shown on Contract Drawings or as directed by Contract administrator. Tolerance for finish grading to be 10mm. |  |
|  |  | # .5 | # Finish Grade of the tree trench system shall be 25 mm from finished elevation of adjacent curb or planter wall unless otherwise noted on drawings. |  |
|  |  | # .6 | # The finish grade of a tree trench cell is considered to be the surface elevation of the mulch layer overlying the tree trench soil. |  |
|  |  | # .7 | # In addition to the above specifications, refer to Section 31 22 01 - Site Grading |  |
|  |  | # .8 | # All finish grading activities in the tree trench must be performed during dry conditions to prevent soil smearing and compaction. Dewatering may be necessary prior to commencing work. |  |
| # 3.10 | # Finish Grading of Hardscape Features | # .1 | # Finish grading of overlying hardscape features shall be completed per Contract Documents and in reference to the appropriate specification for the given surface treatment. |  |
| # 3.11 | # Clean-up |  | # Remove surplus material unsuitable for fill, grading or landscaping from site for disposal at approved disposal site. |  |
|  |  |  | # Dispose of surplus materials and all construction debris off-site. |  |
|  |  |  | # The tree trench area shall not be used as a staging or storage area for equipment or construction supplies. |  |
|  |  |  | # After construction is complete, all exposed growing medium or structural soil shall be covered in geotextile or other approved material until planting occurs. |  |
|  |  |  | # All weeds shall be removed prior to project completion. Weeds shall be removed without the use of chemical agents. |  |
| 3.12 | Post-Construction Flow Test | .1 | At the request of the contract administrator, a surface runoff test may be required to ensure that the system drains as per the specifications. A City of Vancouver employee will conduct the synthetic infiltration test. |  |
|  |  | .2 | If a post-construction surface flow test is required by the contract administrator, proof of a successful result is a requirement for final approval by the City of the tree trench system. |  |
| 3.13 | Post-Construction Infiltration Test | .1 | At the request of the contract administrator, a synthetic infiltration test may be required to evaluate the infiltrate rate and drawdown time of the tree trench system. A City of Vancouver employee will conduct the synthetic infiltration test. |  |
|  |  | .2 | The following four conditions must be met to perform a synthetic infiltration test: |  |
|  |  |  | - There must be a water supply that can provide the required discharge and total volume of runoff needed. |  |
|  |  |  | - The tree trench system must be offline and/or no precipitation is expected for at least 48 hours. |  |
|  |  |  | - Outflow paths other than infiltration are either measurable or can be temporarily plugged. |  |
|  |  |  | - The water surface elevation in the stormwater treatment system can be measured continuously during the test. |  |
|  |  | .3 | Once the stormwater treatment system is filled with synthetic runoff, measure the change in water level with time to evaluate the infiltration rate. |  |
|  |  | .4 | Post-construction infiltration tests shall take place 6 months after planting has been completed. |  |
|  |  | .5 | If a post-construction flow test is required by the Contract Administrator, proof of a successful result is a requirement for final approval by the City of the tree trench system. |  |