## BP Data Sheet -2025
[5 empty] | Building Permit Data Sheet (2025 VBBL) | [12 empty] | (excluding Residential Buildings with not more than 2 Principal Dwelling Units)
| Property Address : | [15 empty] | Building Permit Application No.:
Specific Address :
Project Description (include whether scope of work is shell only) :
When professional design is required, the Building Permit Data Sheet is to be completed by the Coordinating Registered Professional, or Certified Professional, and submitted with the building permit application(s).
| Governing Code (Part 3 or Part 9) : | [14 empty] | Building's Major Occupancy Classification(s)
| City of Vancouver Building By-Law Edition : | [12 empty] | 2025
| Constr'n Article |  |  |  | Floor |  | Mezz |  | Roof |  | Construction |  |  | Provided |  | Project Area: Space / Room |  |  |  | Use |  | Subsid'y to
| Building Area (sq.m.) : | [14 empty] | Are either 3.1.2.7 or 9.10.2.5 applied?
| For Tenant Improvements only - Suite Area (sq.m.) : | [14 empty] | Is storage garage a separate building?
| Number of Streets : | [14 empty] | Firewall Fire-Resistance Rating (FRR) :
| Grade Elevation (m) : | [14 empty] | Number of mezzanines :
| Building Height |  |  |  | - Storeys Above Grade : | [10 empty] | Are any floors interconnected?
[5 empty] | - Storeys Below Grade : | [10 empty] | Fire suppression:
| Occupant Load (Suite Occupant Load - if applicable) : | [14 empty] | Standpipe :
Fire pump provided?
| Spatial Separation Summary (show most restrictive of various faces) | [14 empty] | Fire alarm system type :
| Elev. |  | Exposing Building Faces (Min Required) | [9 empty] | Location of Calculations |  |  | Is a fire alarm annunciator provided?
|  |  | Construction Type |  |  |  | Cladding Type |  |  |  | FRR |  |  |  |  | Central station monitoring :
Radio Antenna System
Is an emergency generator provided?
Emergency Power Supply Duration (hrs):
Is commercial kitchen exhaust pre-shafted?
| Design Upgrade Levels (Existing Buildings only) | [14 empty] | Importance Category (4.1.2.1) :
| Fire/Life/Health Safety |  |  |  |  | Structural |  |  | NonStructural |  |  | Accessibility |  |  |  | Site Classification (Table 4.1.8.4.-B)
Geotechnical conditions :
Are any Alternative Solutions required?
Additional Project Notes / Explanations:
Prepared By :
Company Name :
Company Address :
Name :
Title :
Phone :
Email :
http://vancouver.ca/home-property-development/application-forms-and-checklists.aspx
| Drop Box 1 |  |  | Drop Box 2 |  |  | Drop Box 3 |  |  | Drop Box 4 | [5 empty] | Drop Box 5 | [8 empty] | Drop Box 6 | Drop Box 7 | Drop Box 8
|  | A1 |  |  | Yes |  |  | Yes |  | Existing (fully sprinklered - conforming) | [5 empty] | Existing standpipe (conforming) | [8 empty] | Single Stage | Part 4 | Flood Plain
|  | A2 |  |  | No |  |  | No |  | Existing (fully sprinklered - non conforming) | [5 empty] | Existing standpipe (non conforming) | [8 empty] | 2 Stage | Part 9 | Slope Stability
|  | A3 |  |  | N/A |  |  |  |  | Existing (partial sprinklered) | [5 empty] | No standpipe - Not required | [8 empty] | None |  | Peat Bog/Gas
|  | A4 | [7 empty] | No system - Not required | [5 empty] | Standpipe required but not triggered | [10 empty] | Deep Excavation
|  | B1 | [7 empty] | System provided - NFPA 13 | [5 empty] | Standpipe provided | [10 empty] | Soil Liquefaction
|  | B2 | [7 empty] | System provided - NFPA 13R | [16 empty] | Waterways
|  | B3 | [7 empty] | System provided - NFPA 13D | [16 empty] | Other (Explain)
|  | C | [24 empty] | Flowing Artesian Condition
|  | D | [24 empty] | N/A
E
F1
F2
F3
| Drop Box 9 | [16 empty] | Drop Box 10 |  |  |  | Drop Box 11
|  |  | Floor |  |  | Mezz |  |  | Roof |  |  | Suppor |  |  | Constr'
[19 empty] | All Completed |  |  |  | Yes
3.2.2.20 |  |  | 2h |  |  | 1h |  |  | N/A | [5 empty] | Noncomb. |  |  |  | Ongoing |  |  |  | No
3.2.2.21 |  |  | 45 or H/T |  |  | N/A |  |  | N/A | [5 empty] | H/T or NC |  |  |  | TBD |  |  |  | TBD
3.2.2.22 |  |  | 45 min |  |  | 45 min |  |  | N/A | [5 empty] | C or NC
3.2.2.23 |  |  | 2h |  |  | 1h |  |  | N/A | [5 empty] | Noncomb.
3.2.2.24 |  |  | 1h |  |  | 1h |  |  | N/A | [5 empty] | Noncomb.
3.2.2.25 |  |  | 45 or NC |  |  | 45 or NC |  |  | See VBBL | [5 empty] | C or NC
3.2.2.26 |  |  | 45 or NC |  |  | 45 or NC |  |  | N/A | [5 empty] | C or NC
3.2.2.27 |  |  | N/A |  |  | N/A |  |  | N/A | [5 empty] | C or NC
3.2.2.28 |  |  | N/A |  |  | N/A |  |  | N/A | [5 empty] | C or NC |  |  | Drop Box 13 |  | Drop Box 14
3.2.2.29 |  |  | 2h |  |  | 1h |  |  | N/A | [5 empty] | Noncomb.
3.2.2.30 |  |  | 1h |  |  | 1h |  |  | 45 or H/T | [5 empty] | Noncomb.
3.2.2.31 |  |  | 1h |  |  | 1h |  |  | N/A | [5 empty] | Noncomb. |  |  | Part 3 |  | Low
3.2.2.32 |  |  | N/A |  |  | 45 or NC |  |  | See VBBL | [5 empty] | C or NC |  |  | Part 9 |  | Normal
3.2.2.33 |  |  | N/A |  |  | N/A |  |  | N/A | [5 empty] | C or NC |  |  |  |  | High
3.2.2.34 |  |  | N/A |  |  | N/A |  |  | N/A | [5 empty] | C or NC |  |  |  |  | Post-Disaster
3.2.2.35 |  |  | N/A |  |  | N/A |  |  | See VBBL | [5 empty] | See VBBL
3.2.2.36 |  |  | 2h |  |  | 1h |  |  | N/A | [5 empty] | Noncomb.
3.2.2.37 |  |  | 1h |  |  | 1h |  |  | N/A | [5 empty] | Noncomb. |  |  | Drop Box 15 |  | Drop Box 15b
3.2.2.38 |  |  | 2h |  |  | 1h |  |  | N/A | [5 empty] | Noncomb.
3.2.2.39 |  |  | 1h |  |  | 1h |  |  | N/A | [5 empty] | Noncomb.
3.2.2.40 |  |  | 45 min |  |  | 45 or NC |  |  | N/A | [5 empty] | C or NC |  |  | N/A |  | F1 | S1 | N1 | A1
3.2.2.41 |  |  | N/A |  |  | N/A |  |  | N/A | [5 empty] | C or NC |  |  | A |  | F2 | S2 | N2 | A2
3.2.2.42 |  |  | 2h |  |  | 1h |  |  | N/A | [5 empty] | Noncomb. |  |  | B |  | F3 | S3 | N3 | A3
3.2.2.43 |  |  | 1h |  |  | 1h |  |  | N/A | [5 empty] | Noncomb. |  |  | C |  | F4 | S4 | N4 | A4
3.2.2.44 |  |  | 1h |  |  | 1h |  |  | N/A | [5 empty] | C or NC |  |  | D
3.2.2.45 |  |  | 45 min |  |  | 45 or NC |  |  | N/A | [5 empty] | C or NC |  |  | E
3.2.2.46 |  |  | N/A |  |  | N/A |  |  | N/A | [5 empty] | C or NC |  |  | F
3.2.2.47 |  |  | 2h |  |  | 1h |  |  | N/A | [5 empty] | Noncomb.
3.2.2.48 |  |  | 2h |  |  | 1h |  |  | N/A | [5 empty] | EMTC or NC
3.2.2.49 |  |  | 1h |  |  | 1h |  |  | N/A | [5 empty] | Noncomb.
3.2.2.50 |  |  | 1h |  |  | 1h |  |  | 1h | [5 empty] | Noncomb.
3.2.2.51 |  |  | 1h |  |  | 1h |  |  | See VBBL | [5 empty] | C or NC
3.2.2.52 |  |  | 1h |  |  | 1h |  |  | N/A | [5 empty] | C or NC
3.2.2.53 |  |  | 1h |  |  | 1h |  |  | 1h | [5 empty] | C or NC
3.2.2.54 |  |  | 45 min |  |  | 45 or NC |  |  | N/A | [5 empty] | C or NC |  |  | Drop Box 16 |  |  |  |  | Drop Box 17 | Drop Box 18
3.2.2.55 |  |  | 45 min |  |  | 45 min |  |  | N/A | [5 empty] | C or NC
3.2.2.56 |  |  | 2h |  |  | 1h |  |  | N/A | [5 empty] | Noncomb.
3.2.2.57 |  |  | 2h |  |  | 1h |  |  | N/A | [5 empty] | EMTC or NC |  |  | Required & Provided |  |  |  |  | 30 min | 2 hour
3.2.2.58 |  |  | 1h |  |  | 1h |  |  | 1h | [5 empty] | Noncomb. |  |  | Not Req'd or Provided |  |  |  |  | 1 hour | 4 hour
3.2.2.59 |  |  | 1h |  |  | 1h |  |  | N/A | [5 empty] | Noncomb. |  |  | Not Req'd, Provided |  |  |  |  | 2 hour | N/A
3.2.2.60 |  |  | 1h |  |  | 1h |  |  | See VBBL | [5 empty] | C or NC | [7 empty] | N/A
3.2.2.61 |  |  | 1h |  |  | 1h |  |  | N/A | [5 empty] | C or NC
3.2.2.62 |  |  | 45 or NC |  |  | 45 or NC |  |  | See VBBL | [5 empty] | C or NC |  |  | Drop Box 19 |  | Drop Box 20 |  |  | Drop Box 21 | Drop Box 22
3.2.2.63 |  |  | 45 or NC |  |  | 45 or NC |  |  | N/A | [5 empty] | C or NC
3.2.2.64 |  |  | 45 or NC |  |  | N/A |  |  | N/A | [5 empty] | C or NC
3.2.2.65 |  |  | 45 or NC |  |  | N/A |  |  | N/A | [5 empty] | C or NC |  |  | None |  | Noncomb. |  |  | N/A | Signed & Sealed by :
3.2.2.66 |  |  | 2h |  |  | 1h |  |  | N/A | [5 empty] | Noncomb. |  |  | 0 Hour |  | N/A |  |  | 3/4 hr
3.2.2.67 |  |  | 1h |  |  | 1h |  |  | N/A | [5 empty] | C or NC |  |  | 30 min |  |  |  |  | 1 hr
3.2.2.68 |  |  | 45 min |  |  | 45 or NC |  |  | See VBBL | [5 empty] | C or NC |  |  | 45 min |  |  |  |  | 2 hrs
3.2.2.69 |  |  | 45 min |  |  | 45 or NC |  |  | N/A | [5 empty] | C or NC |  |  | 1 hour
3.2.2.70 |  |  | 45 min |  |  | N/A |  |  | N/A | [5 empty] | C or NC |  |  | 90 min
3.2.2.71 |  |  | 45 min |  |  | N/A |  |  | N/A | [5 empty] | C or NC |  |  | 2 hour
3.2.2.72 |  |  | 2h |  |  | 1h |  |  | N/A | [5 empty] | Noncomb. |  |  | N/A
3.2.2.73 |  |  | 45 min |  |  | N/A |  |  | N/A | [5 empty] | H/T or NC
3.2.2.74 |  |  | 45 or NC |  |  | N/A |  |  | N/A | [5 empty] | C or NC
3.2.2.75 |  |  | N/A |  |  | N/A |  |  | N/A | [5 empty] | C or NC |  |  | Drop Box 23 |  | Drop Box 24 |  |  | Drop Box 25 | Drop Box 26
3.2.2.76 |  |  | 2h |  |  | 1h |  |  | N/A | [5 empty] | Noncomb.
3.2.2.77 |  |  | 1h |  |  | 1h |  |  | N/A | [5 empty] | Noncomb.
3.2.2.78 |  |  | 45 min |  |  | 45 or NC |  |  | See VBBL | [5 empty] | C or NC |  |  | Dated : |  |  | NW |  | Drawings | Combustible
3.2.2.79 |  |  | 45 min |  |  | 45 or NC |  |  | N/A | [5 empty] | C or NC | [5 empty] | N |  | Report | Noncomb.
3.2.2.80 |  |  | 45 or NC |  |  | N/A |  |  | N/A | [5 empty] | C or NC | [5 empty] | NE |  | Dwg & Rpt | H/T
3.2.2.81 |  |  | 45 or NC |  |  | N/A |  |  | N/A | [5 empty] | C or NC | [5 empty] | E |  | Other | EMTC
3.2.2.82 |  |  | 2h |  |  | 1h |  |  | N/A | [5 empty] | Noncomb. | [5 empty] | SE
3.2.2.83 |  |  | 1h |  |  | 1h |  |  | 1h | [5 empty] | Noncomb. | [5 empty] | S
3.2.2.84 |  |  | 1h |  |  | 1h |  |  | N/A | [5 empty] | Noncomb. | [5 empty] | SW
3.2.2.85 |  |  | 45 or NC |  |  | 45 or NC |  |  | See VBBL | [5 empty] | C or NC | [5 empty] | W
3.2.2.86 |  |  | 45 or NC |  |  | 45 or NC |  |  | N/A | [5 empty] | C or NC
3.2.2.87 |  |  | 45 or NC |  |  | N/A |  |  | N/A | [5 empty] | C or NC
3.2.2.88 |  |  | 45 or NC |  |  | N/A |  |  | N/A | [5 empty] | C or NC
3.2.2.89 |  |  | N/A |  |  | N/A |  |  | N/A | [5 empty] | H/T or NC
3.2.2.90 |  |  | N/A |  |  | N/A |  |  | N/A | [5 empty] | H/T or NC
3.2.2.91 |  |  | N/A |  |  | N/A |  |  | N/A | [5 empty] | Noncomb.
3.2.2.92 |  |  | N/A |  |  | N/A |  |  | N/A | [5 empty] | Noncomb.
3.2.2.93 |  |  | 2h |  |  | 1h |  |  | See VBBL | [5 empty] | EMTC or NC
9.10.8.1 R ≤3s |  |  | 45 min |  |  | 45 min |  |  | N/A | [5 empty] | C or NC
9.10.8.1 O ≤2s |  |  | 45 min |  |  | N/A |  |  | N/A | [5 empty] | C or NC
9.10.8.1 O ≤3s |  |  | 45 min |  |  | 45 min |  |  | 45 min | [5 empty] | C or NC
9.10.8.2 O ≤3s |  |  | 45 min |  |  | 45 min |  |  | N/A | [5 empty] | C or NC
Note on S15: Indicate all the Major Occupancy Classifications within the building, and not just the project area.
Note on B17: In the event of a discrepancy between this FFR table and the VBBL, the VBBL shall take precedence. R = Residential O = All Other Occupancies 3s = 3 Storeys <3s = less than 3 storeys
Note on L17: H/T = Heavy Timber, C = Combustible Construction, NC = Noncombustible Construction EMTC = Encapsulated Mass Timber
Note on O17: H/T = Heavy Timber EMTC = Encapsulated Mass Timber Also include Article 3.2.1.7. for non-residential major occupancies in a residential building.
Note on B18: Select an article for each major occupancy except when 3.2.2.48, 3.2.2.51, 3.2.2.57, 3.2.2.60 or 3.2.2.93 is applied.
Note on B19: Select an article for each major occupancy except when 3.2.2.48, 3.2.2.51, 3.2.2.57, 3.2.2.60 or 3.2.2.93 is applied.
Note on B20: Select an article for each major occupancy except when 3.2.2.48, 3.2.2.51, 3.2.2.57, 3.2.2.60 or 3.2.2.93 is applied.
Note on B21: Select an article for each major occupancy except when 3.2.2.48, 3.2.2.51, 3.2.2.57, 3.2.2.60 or 3.2.2.93 is applied.
Note on B22: Select an article for each major occupancy except when 3.2.2.48, 3.2.2.51, 3.2.2.57, 3.2.2.60 or 3.2.2.93 is applied.
Note on B24: All Projects (including TIs) Building Area: - the greatest horizontal area of a building above grade within the outside surface of exterior walls or within the outside surface of exterior walls and the centre line of firewalls.
Note on S24: A suite of Group A, Division 2 Assembly occupancy is permitted to be classified as a Group D. See Article 3.1.2.7 and 9.10.2.5 of Div B of the VBBL.
Note on B25: If not applicable, then indicate "N/A".
Note on S25: Separate Data Sheet required for each building
Note on S26: Separate Data Sheet required for each building
Note on S28: Explain in Project Notes section below.
Note on W30: Use the "Standpipe required but not triggered" option when an existing building requires a standpipe that is not triggered by this permit.
Note on N33: Indicate where calculations are located, firstly, in general terms "Drawings" or "Report" etc, then specifically, by indicating which drawings and/or report.
Note on B35: List the four most restrictive scenarios from different faces.
Note on D35: Important Note: Choosing "N/A" within either of the Construction or Cladding columns of this Spatial Separation table indicates only that "Noncombustible" is not the minimum Spatial Separation requirement. "Noncombustible" and/or other construction requirements may still be necessary due to other requirements from the Building By-Law or other City By-Laws.
Note on H35: Important Note: Choosing "N/A" within either of the Construction or Cladding columns of this Spatial Separation table indicates only that "Noncombustible" is not the minimum Spatial Separation requirement. "Noncombustible" and/or other construction requirements may still be necessary due to other requirements from the Building By-Law or other City By-Laws.
Note on N35: Choose general location of calculations.
Note on S35: Refer 3.2.5.20 Required for new construction or F4 level upgrade
Note on B36: List the four most restrictive scenarios from different faces.
Note on D36: Important Note: Choosing "N/A" within either of the Construction or Cladding columns of this Spatial Separation table indicates only that "Noncombustible" is not the minimum Spatial Separation requirement. "Noncombustible" and/or other construction requirements may still be necessary due to other requirements from the Building By-Law or other City By-Laws.
Note on H36: Important Note: Choosing "N/A" within either of the Construction or Cladding columns of this Spatial Separation table indicates only that "Noncombustible" is not the minimum Spatial Separation requirement. "Noncombustible" and/or other construction requirements may still be necessary due to other requirements from the Building By-Law or other City By-Laws.
Note on B37: List the four most restrictive scenarios from different faces.
Note on D37: Important Note: Choosing "N/A" within either of the Construction or Cladding columns of this Spatial Separation table indicates only that "Noncombustible" is not the minimum Spatial Separation requirement. "Noncombustible" and/or other construction requirements may still be necessary due to other requirements from the Building By-Law or other City By-Laws.
Note on H37: Important Note: Choosing "N/A" within either of the Construction or Cladding columns of this Spatial Separation table indicates only that "Noncombustible" is not the minimum Spatial Separation requirement. "Noncombustible" and/or other construction requirements may still be necessary due to other requirements from the Building By-Law or other City By-Laws.
Note on N37: Input the specific location of calculations (ie, Drawing types or Dwg #s, or name of Report etc).
Note on AB37: Hours.
Note on B38: List the four most restrictive scenarios from different faces.
Note on D38: Important Note: Choosing "N/A" within either of the Construction or Cladding columns of this Spatial Separation table indicates only that "Noncombustible" is not the minimum Spatial Separation requirement. "Noncombustible" and/or other construction requirements may still be necessary due to other requirements from the Building By-Law or other City By-Laws.
Note on H38: Important Note: Choosing "N/A" within either of the Construction or Cladding columns of this Spatial Separation table indicates only that "Noncombustible" is not the minimum Spatial Separation requirement. "Noncombustible" and/or other construction requirements may still be necessary due to other requirements from the Building By-Law or other City By-Laws.
Note on S40: Part 4 applies to all buildings except "Residential Buildings with Not More Than 2 Principal Dwelling Units". See sentence 1.3.3.2.(2) of Div. A of the VBBL. See sentence 4.1.2.1.(3) of Div. B of the VBBL for the Importance Category.
Note on B45: Include topics needing additional info when not fully explained above, ie, Spatial Separation, FRR, AL number, etc.
Note on X51: For digital Excel file submission: - use drop boxes. For hardcopy and digital sealing (PDF) versions: - sign and seal
Note on X52: For digital Excel file submission: - insert name of Registered Professional signing and sealing this Data Sheet. For hardcopy and digital sealing (PDF) versions: - sign and seal
Note on X54: For digital Excel file submission: - use drop boxes. For hardcopy and digital sealing (PDF) versions: - sign and seal
Note on X55: For digital Excel file submission: - insert date of the signing and sealing of this Data Sheet. For hardcopy and digital sealing (PDF) versions: - sign and seal